## Instructions
Guide to Energy Performance Value Analysis Tool
I. Background
The Value Analysis Tool was created as a resource for project teams to use as part of the Tenant Energy Optimization process to analyze the relative energy and financial impacts of incorporating energy performance measures (EPMs) into a commercial tenant buildout.
II. What does this tool calculate?
This tool has been designed to calculate the projected financial returns of EPMs over a tenant's lease term. Measures can be analyzed individually or packaged into groups of measures (recommended).
III. What information will you need to provide?
To use this tool, the project team will need the following information:
l Gross floor area of tenant space (square feet) l Lease term (years) l Discount rate (tenant preference) l Electricity base rate ($/kWh) l Electricity administration fee (if applicable) |  | l Utility escalation rate l List of EPMs to be analyzed l Baseline and EPM cost l Energy model results
IV. How to edit the calculator?
Green cells require user inputs
Gray cells indicate calculated values
Project Inputs
To start, input the project-specific information into the green cells, including gross floor area, the discount rate to be used in analysis, utility rate along with any applicable landlord administration fees and/or escalation rates, and the name and ID of all EPMs. If you WILL NOT be analyzing packages, but rather just individual EPMs, leave all checkboxes on this sheet UNCHECKED. If you WILL be analyzing the EPMs as packages, indicate so using the check box in cell H25 and then fill in the number of packages that will be analyzed (up to five). Then, name your packages in the cells as indicated, and the package names will populate above the checkbox matrix. Here, you should mark the checkbox(es) next to each EPM that will be included in a corresponding package. NOTE: You may wish to analyze EPMs individually first, and then revisit the Project Inputs tab later to assemble and analyze the packages.
Energy Model Results
This sheet is where you will input the results from the energy modeling. The name of each EPM and package (if applicable) will pre-populate on the sheet. Enter the results from the energy model into the corresponding green cells. If you elected to analyze packages (as indicated on the Project Inputs tab), the packages will populate at the bottom of the results input section. Be sure to enter the energy model results for the packages in this row.
A note on baselines. Energy consumption baselines can be entered on two separate rows. The first one (in lighter green) is optional and allows the user to compare performance to pre-retrofit conditions in the case the base building systems were upgraded. The second baseline row, called the "As-Built Baseline" in the sample, must be filled in. All of the EPMs will be compared to this baseline.
At the top of the sheet you have the option to indicate whether the EPMs are run iteratively. Checking this box indicates that the EPMs are built upon one another, and the results shown for a specific EPM are actually the cumulative total effect of that EPM as well as all of the preceeding EPMs. Alternately, an energy model that is not run iteratively, but rather individually, shows the results of a single measure compared to the baseline. Be sure to check the appropriate box for correct calculations.
Costing Worksheet
The costing worksheet tab has a full-page worksheet for each EPM where costing information should be input (scroll right to see more sheets). At the top of each worksheet, the name of the EPM will pre-populate. Below this, input any assumptions that were used in regard to costing or the measure itself. Then, on the left side of the worksheet, fill in the description of the "baseline" alternative (i.e., a code-compliant lighting scheme) and the associated labor and materials costs. The subtotal will calculate based on quantity and unit cost.
On the right side of each worksheet, input the desctiption of the EPM and the associated costs. Continue to input this information for each EPM using a new worksheet by scrolling to the right.
Costing Summary
On the costing summary tab, enter any taxes and fees that apply to all EPMs. If there are no taxes and fees or they are included in the costs on the Costing Worksheets, zero ("0") out all of the green cells.
Using the inputs from the costing worksheets and the taxes/fees (if any), the costing summary will calculate the incremental cost for each EPM.
EPM Analysis
The EPM analysis tab is the best place to experiment with different packages of EPMs. On this tab, the user is able to turn individual measures on or off to assess the impact on the payback period.
Note that these calculations are rough; they may not properly account for the interactive effects between measures, so may over- or underestimate the energy and cost savings. For best results, finalize packages and model them as such to capture interactive effects.
Value Analysis
There are five value analysis tabs designed to provide energy savings and financial analysis of each package of EPMs. To activate the package analysis tabs, you must indicate that you will be looking at packages on the Project Inputs tab.
For the value analysis, the only new user inputs required are the incentive/rebate amounts (if applicable) and the soft cost of energy modeling, both to be input into the appropriate green cells.
Payback Calculations
No user inputs are required for these tabs; they are simply calculation sheets showing the payback scenarios for each EPM package. Do not edit.

## Project Inputs
Project Inputs
In Section A, input the project data and assumptions.
In Section B, type the name of each Energy Performance Measure (EPM) into the green cells and provide them with an ID number (often found in the energy model). It is important to input the EPMs in the order they will be analyzed. Best practice is to (1) reduce loads, (2) improve equipment efficiency, then (3) manage behavior. To include an EPM in a package, check the box(es) to the right of the EPM that correspond with the desired package.
In Section C, check the box to turn on the package analysis feature. Then enter the number of packages to be analyzed and provide names (i.e., Least Energy Reduction, Moderate Energy Reduction, Significant Energy Reduction).
A: | Project Data and Assumptions
Rentable Floor Area - FT2
Usable Floor Area - FT2
Modeled Floor Area - FT2
| Lease Term - Years |  |  | 0 | months
Electricity Base Rate - $ / kWh
| Administration Fee - % |  | /kWh
| Escalation Rate - Annual |  |  | 0% | monthly
| Discount Rate - Annual |  | /yr | 0% | monthly
Incentives (net of review and filing costs)
Energy Modeling Cost
B: | Energy Performance Measures (EPMs) | EPM ID
[6 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[6 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[6 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[6 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[6 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[6 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[6 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[6 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[6 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[6 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[6 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[6 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[6 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[6 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[6 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[6 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[6 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[6 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[6 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[6 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
|  | COUNT |  |  |  | 0 | 0 | 0 | 0 | 0
C: | Does the model contain packages of EPMs? Check box if "yes." |  |  |  |  | TRUE
| Enter number of packages here (up to 5): |  |  |  |  | 0

## Energy Model Results
Energy Model Results
In Section A, designate whether EPMs are run iteratively in the energy model. Iterative modeling shows each measure building off the previous measure(s), thus providing cumulative impact. Individual modeling, in contrast, shows each measure as compared to the baseline.
In Section B, input the baseline(s). The "Pre-Retrofit Baseline" is optional,so you may enter values for comparison purposes that look at conditions before a base building retrofit. The "Existing Building Baseline" MUST be included. This baseline establishes the existing building conditions with an overlay of a code-compliant-designed tenant space. Once the baselines are entered, input the remainder of the energy modeling results for each EPM into the green cells. This layout maps closely to E-Quest outputs, but note that the tenant space results should be input first.
In Section C, input the package results. In iterative models, the package result will typically be the results from the last measure in each package. Your modeling engineer can provide additional guidance.
| Are the EPMs run iteratively in the energy model? Check box at right if "yes." |  |  |  |  | TRUE
A: | Item ID | Energy Model Run Description |  | Tenant Space |  | Base Building |  | Total | [5 empty] | Peak
|  |  | Electric (kWh) | Reduction from Existing Baseline | Electric (kW) | Electric (kWh) | Steam (Therms) | Electric (kWh) | Steam (Therms) | Lighting (kWh) | Equipment (kWh) | Fans (kWh) | HVAC (kWh) | Cooling (Tons) | Electric (kW)
[17 empty] | Pre to adjusted | 0
[17 empty] | base to VAV | 0
[16 empty] | 0 |  | #DIV/0!
0
0
B: | Modeling Results of Package(s) | [14 empty] | #VALUE!
#VALUE!
C: | Incremental Savings vs. Previous Run
Modeling Results of Packages(s) vs. Baseline
186396

## Costing Detail
Costing Worksheet
|  |  | Modeled Square Footage | 0
|  |  | Rentable Square Footage | 0
|  |  | Usable Square Footage | 0
# | EPM ID | EPM | Baseline Scope Description | Item | Qty | Unit | Cost/Unit | Baseline Subtotal | EPM Scope Description | Item | Qty | Unit | Cost/Unit | EPM Subtotal | Incremental Cost | Per Modeled SF(1) | Per Rentable SF(2) | Comments
1 | 0 | 0
[8 empty] | 0 | [5 empty] | 0 | 0 | #DIV/0! | #DIV/0!
2 | 0 | 0
[8 empty] | 0 | [5 empty] | 0 | 0 | #DIV/0! | #DIV/0!
3 | 0 | 0
[8 empty] | 0 | [5 empty] | 0 | 0 | #DIV/0! | #DIV/0!
4 | 0 | 0
[8 empty] | 0 | [5 empty] | 0 | 0 | #DIV/0! | #DIV/0!
5 | 0 | 0
[8 empty] | 0 | [5 empty] | 0 | 0 | #DIV/0! | #DIV/0!
6 | 0 | 0
[8 empty] | 0 | [5 empty] | 0 | 0 | #DIV/0! | #DIV/0!
7 | 0 | 0 | Surge protectors/standard power strips
[8 empty] | 0 | [5 empty] | 0 | 0 | #DIV/0! | #DIV/0!
8 | 0 | 0 | none
[8 empty] | 0 | [5 empty] | 0 | 0 | #DIV/0! | #DIV/0!
9 | 0 | 0 | [11 empty] | 0
0
0
0
0
0
0
0
[8 empty] | 0 | [5 empty] | 0 | 0 | #DIV/0! | #DIV/0!
10 | 0 | 0
[8 empty] | 0 | [5 empty] | 0 | 0 | #DIV/0! | #DIV/0!
11 | 0 | 0 | [11 empty] | 0
[8 empty] | 0 | [5 empty] | 0 | 0 | #DIV/0! | #DIV/0!
12 | 0 | 0
[8 empty] | 0 | [5 empty] | 0 | 0 | #DIV/0! | #DIV/0!
13 | 0 | 0
[8 empty] | 0 | [6 empty] | 0 | #DIV/0! | #DIV/0!
14 | 0 | 0
[8 empty] | 0 | [5 empty] | 0 | 0 | #DIV/0! | #DIV/0!
15 | 0 | 0
[8 empty] | 0 | [5 empty] | 0 | 0 | #DIV/0! | #DIV/0!
16 | 0 | 0
[8 empty] | 0 | [5 empty] | 0 | 0 | #DIV/0! | #DIV/0!
17 | 0 | 0
[8 empty] | 0 | [5 empty] | 0 | 0 | #DIV/0! | #DIV/0!
18 | 0 | 0
[8 empty] | 0 | [5 empty] | 0 | 0 | #DIV/0! | #DIV/0!
19 | 0 | 0
[8 empty] | 0 | [5 empty] | 0 | 0 | #DIV/0! | #DIV/0!
20 | 0 | 0
[8 empty] | 0 | [5 empty] | 0 | 0 | #DIV/0! | #DIV/0!
[8 empty] | 0 | [5 empty] | 0 | 0 | #DIV/0! | #DIV/0!
Notes:
(1) Per Modeled Square Foot numbers are based on conditioned area included in the Energy Model. Allows the project team to compare cost to units of energy saved across the same floor area.
(2) Per Rentable Square Foot numbers are based on rentable floor area per the lease. Allows the project team to compare the incremental cost of EPMs to other construction budget numbers.

## Costing Summary
Costing Summary
Section A will automatically calculate based upon previous inputs from the costing worksheets.
In Section B, input markup assumptions that should be applied to all measures. If the cost information included on the costing worksheets included these costs, leave the boxes blank or enter 0.
A: | ID | Energy Performance Measure | Estimated Direct Cost for Project Baseline | Estimated Direct Cost for EPMs | Incremental Cost without Markups | Local Tax on Material Only * | Design Contingency | General Conditions & Fee | Bonds & Insurances | Incremental Cost | Incremental Cost Per SF
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Sub-Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
B: | Local Tax (on Material Only) * |  | 8.75%
| * Material, as % of total cost (assumption) |  | 50%
| Design Contingency |  | 8%
| General Contractor General Conditions & Fee |  | 10%
| Bonds & Insurances |  | 2%

## EPM Analysis
EPM Analysis
The table below can be used to analyze EPMs individually because it shows the effects of each measure and calculates the simple payback. Turn measures "on" or "off" using the checkboxes at the left to test different packages of measures. Note that the package calculations provide directional feedback; interactive effects between measures may not be appropriately captured. For proper analysis of a package of measures, bundle them in the energy model, input results as a package, and view the Value Analysis tab(s).
| EPM ID | Energy Performance Measures (EPMs) | Electricity Reduction (kWh/yr) | Electricity Reduction | Annual Electricity Savings | Incremental First Cost | Simple Payback
| 0 | [6 empty] | TRUE
| 0 | [6 empty] | TRUE
| 0 | [6 empty] | TRUE
| 0 | [6 empty] | TRUE
| 0 | [6 empty] | TRUE
| 0 | [6 empty] | TRUE
| 0 | [6 empty] | TRUE
| 0 | [6 empty] | TRUE
| 0 | [6 empty] | TRUE
| 0 | [6 empty] | TRUE
| 0 | [6 empty] | TRUE
| 0 | [6 empty] | TRUE
| 0 | [6 empty] | TRUE
| 0 | [6 empty] | TRUE
| 0 | [6 empty] | TRUE
| 0 | [6 empty] | TRUE
| 0 | [6 empty] | TRUE
| 0 | [6 empty] | TRUE
| 0 | [6 empty] | TRUE
| 0 | [6 empty] | TRUE
| Subtotal | Package of Measures (without Incentives) | 0 | 0% | 0 | 0

## Value Analysis - Pkg 1
Value Analysis
The table below analyzes the performance of a package of EPMs. That information is analyzed and the full summary of financial analysis is found in Section B.
In Section B, input any incentives/rebates that the project will receive and the soft costs of energy modeling into the green cells. This full financial snapshot will show you how the project is projected to perform over the lease term.
The chart in Section C illustrates the electricity reductions from the pre-retrofit baseline (if applicable), code-compliant baseline, and the high-performance design for the selected package.
The chart in Section D shows the financial projection for the project over the lease term. Where the line hits the Y-axis is the initial capital outlay, or incremental cost. Where it crosses the X-axis is the payback period, when the electricity cost savings from the measures have recovered the initial incremental cost. The highest peak at the end of the lease term is the total net present value of the electricity cost savings over the lease term.
A: | Intentionally Blank (Package Not in Use)
| EPM ID | Energy Performance Measures (EPMs) | Electricity Reduction (kWh/yr) | Electricity Reduction | Annual Electricity Savings | Incremental First Cost | Simple Payback
Package of Measures Subtotal does not equal Package Energy Savings from Energy Model Results.
Check Package Energy Savings on Energy Model Results Worksheet & Sum of Measures Subtotal
B: | Intentionally Blank (Package Not in Use)
| Financial Analysis Summary |  | Value | per ft2
--
--
--
--
C: |  | 0 | 0
|  | 0 | 0
Intentionally Blank (Package Not in Use)
D:
x.x-year payback with incentives
x.x-year payback without incentives

## Value Analysis - Pkg 2
Value Analysis
The table below analyzes the performance of a package of EPMs. That information is analyzed and the full summary of financial analysis is found in Section B.
In Section B, input any incentives/rebates that the project will receive and the soft costs of energy modeling into the green cells. This full financial snapshot will show you how the project is projected to perform over the lease term.
The chart in Section C illustrates the electricity reductions from the pre-retrofit baseline (if applicable), code-compliant baseline, and the high-performance design for the selected package.
The chart in Section D shows the financial projection for the project over the lease term. Where the line hits the Y-axis is the initial capital outlay, or incremental cost. Where it crosses the X-axis is the payback period, when the electricity cost savings from the measures have recovered the initial incremental cost. The highest peak at the end of the lease term is the total net present value of the electricity cost savings over the lease term.
A: | Intentionally Blank (Package Not in Use)
| EPM ID | Energy Performance Measures (EPMs) | Electricity Reduction (kWh/yr) | Electricity Reduction | Annual Electricity Savings | Incremental First Cost | Simple Payback
|  |  | 0 | 0 | 0 |  | 0
|  |  | 0 | 0 | 0 |  | 0
Check Package Energy Savings on Energy Model Results Worksheet & Sum of Measures Subtotal
B: | Intentionally Blank (Package Not in Use)
| Financial Analysis Summary |  | Value | per ft2
--
--
--
--
C: |  | 0 | 0
|  | 0 | 0
Intentionally Blank (Package Not in Use)
D:
x.x-year payback with incentives
x.x-year payback without incentives

## Value Analysis - Pkg 3
Value Analysis
The table below analyzes the performance of a package of EPMs. That information is analyzed and the full summary of financial analysis is found in Section B.
In Section B, input any incentives/rebates that the project will receive and the soft costs of energy modeling into the green cells. This full financial snapshot will show you how the project is projected to perform over the lease term.
The chart in Section C illustrates the electricity reductions from the pre-retrofit baseline (if applicable), code-compliant baseline, and the high-performance design for the selected package.
The chart in Section D shows the financial projection for the project over the lease term. Where the line hits the Y-axis is the initial capital outlay, or incremental cost. Where it crosses the X-axis is the payback period, when the electricity cost savings from the measures have recovered the initial incremental cost. The highest peak at the end of the lease term is the total net present value of the electricity cost savings over the lease term.
Intentionally Blank (Package Not in Use)
A: | EPM ID | Energy Performance Measures (EPMs) | Electricity Reduction (kWh/yr) | Electricity Reduction | Annual Electricity Savings | Incremental First Cost | Simple Payback
|  |  | 0 | 0 | 0 |  | 0
|  |  | 0 | 0 | 0 |  | 0
Package of Measures Subtotal does not equal Package Energy Savings from Energy Model Results.
Check Package Energy Savings on Energy Model Results Worksheet & Sum of Measures Subtotal
B: | Intentionally Blank (Package Not in Use)
| Financial Analysis Summary |  | Value | per ft2
--
--
--
--
C: |  | 0 | 0
|  | 0 | 0
Intentionally Blank (Package Not in Use)
D:
x.x-year payback with incentives
x.x-year payback without incentives

## Value Analysis - Pkg 4
Value Analysis
The table below analyzes the performance of a package of EPMs. That information is analyzed and the full summary of financial analysis is found in Section B.
In Section B, input any incentives/rebates that the project will receive and the soft costs of energy modeling into the green cells. This full financial snapshot will show you how the project is projected to perform over the lease term.
The chart in Section C illustrates the electricity reductions from the pre-retrofit baseline (if applicable), code-compliant baseline, and the high-performance design for the selected package.
The chart in Section D shows the financial projection for the project over the lease term. Where the line hits the Y-axis is the initial capital outlay, or incremental cost. Where it crosses the X-axis is the payback period, when the electricity cost savings from the measures have recovered the initial incremental cost. The highest peak at the end of the lease term is the total net present value of the electricity cost savings over the lease term.
Intentionally Blank (Package Not in Use)
A: | EPM ID | Energy Performance Measures (EPMs) | Electricity Reduction (kWh/yr) | Electricity Reduction | Annual Electricity Savings | Incremental First Cost | Simple Payback
|  |  | 0 | 0 | 0 |  | 0
|  |  | 0 | 0 | 0 |  | 0
B: | Intentionally Blank (Package Not in Use)
| Financial Analysis Summary |  | Value | per ft2
C: |  | 0 | 0
|  | 0 | 0
Intentionally Blank (Package Not in Use)
D:
xxx% Return on Investment (ROI) over Lease Term
xx% Internal Rate of Return (IRR)
x.x-year payback without incentives
x.x-year payback with incentives

## Value Analysis - Pkg 5
Value Analysis
The table below analyzes the performance of a package of EPMs. That information is analyzed and the full summary of financial analysis is found in Section B.
In Section B, input any incentives/rebates that the project will receive and the soft costs of energy modeling into the green cells. This full financial snapshot will show you how the project is projected to perform over the lease term.
The chart in Section C illustrates the electricity reductions from the pre-retrofit baseline (if applicable), code-compliant baseline, and the high-performance design for the selected package.
The chart in Section D shows the financial projection for the project over the lease term. Where the line hits the Y-axis is the initial capital outlay, or incremental cost. Where it crosses the X-axis is the payback period, when the electricity cost savings from the measures have recovered the initial incremental cost. The highest peak at the end of the lease term is the total net present value of the electricity cost savings over the lease term.
Intentionally Blank (Package Not in Use)
A: | EPM ID | Energy Performance Measures (EPMs) | Electricity Reduction (kWh/yr) | Electricity Reduction | Annual Electricity Savings | Incremental First Cost | Simple Payback
|  |  | 0 | 0 | 0 |  | 0
|  |  | 0 | 0 | 0 |  | 0
B: | Intentionally Blank (Package Not in Use)
| Financial Analysis Summary |  | Value | per ft2
C: |  | 0 | 0
|  | 0 | 0
Intentionally Blank (Package Not in Use)
D:
xxx% Return on Investment (ROI) over Lease Term
xx% Internal Rate of Return (IRR)
x.x-year payback without incentives
x.x-year payback with incentives

## Payback Calcs
Payback Calculations
No user inputs required. | [11 empty] | No user inputs required. | [10 empty] | No user inputs required. | [10 empty] | No user inputs required. | [8 empty] | No user inputs required.
Package 1 | [11 empty] | Package 2 | [10 empty] | Package 3 | [10 empty] | Package 4 | [8 empty] | Package 5
Payback Calculations: |  |  | Intentionally Blank (Package Not in Use) | [8 empty] | Payback Calculations: |  |  | Intentionally Blank (Package Not in Use) | [7 empty] | Payback Calculations: |  |  | Intentionally Blank (Package Not in Use) | [7 empty] | Payback Calculations: |  |  | Intentionally Blank (Package Not in Use) | [5 empty] | Payback Calculations: |  |  | Intentionally Blank (Package Not in Use)
[5 empty] | 0 | Payback | [10 empty] | Payback | [10 empty] | Payback | [10 empty] | Payback (with Incentives) | [10 empty] | Payback (with Incentives)
Month | Rate | Cash Flow | Balance | Payback |  | Year | Rate | Annual | With Incentives | Annual | Without Incentives | Month | Rate | Cash Flow | Balance | Payback | Year | Rate | Annual | With Incentives | Annual | Without Incentives | Month | Rate | Cash Flow | Balance | Payback | Year | Rate | Annual | With Incentives | Annual | Without Incentives | Month | Rate | Cash Flow | Balance | Payback | Year | Rate | Annual | Cumulative | Month | Rate | Cash Flow | Balance | Payback | Year | Rate | Annual | Cumulative | 0 | 0 | -0.25 | -0.5 | -0.75 | -1 | -1.25 | -1.5 | -1.75 | -2
0 | N/A |  |  |  |  | 0 | N/A |  |  |  |  | 0 | N/A |  |  |  | 0 | N/A |  |  |  |  | 0 | N/A |  |  |  | 0 | N/A |  |  |  |  | 0 | N/A |  |  |  | 0 | N/A |  |  | 0 | N/A |  |  |  | 0 | N/A |  | 0 | 0.08
| 0 | #VALUE! |  |  |  |  | 0 | #VALUE! |  | #VALUE! |  |  | 0 |  |  |  |  | 0 | #VALUE! |  | #VALUE! |  |  | 0 |  |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 |  |  |  | 0 |  |  |  |  | 0 |  |  | 0.1
|  | #VALUE! | [5 empty] | #VALUE! |  | #VALUE! | [41 empty] | 0.18
|  | #VALUE! | [5 empty] | #VALUE! |  | #VALUE!
|  | #VALUE! | [5 empty] | #VALUE! |  | #VALUE!
|  | #VALUE! | [5 empty] | #VALUE! |  | #VALUE!
|  | #VALUE! | [5 empty] | #VALUE! |  | #VALUE!
|  | #VALUE! | [5 empty] | #VALUE! |  | #VALUE!
|  | #VALUE! | [5 empty] | #VALUE! |  | #VALUE!
|  | #VALUE! | [5 empty] | #VALUE! |  | #VALUE!
|  | #VALUE! | [5 empty] | #VALUE! |  | #VALUE!
|  | #VALUE! | [5 empty] | #VALUE! |  | #VALUE!
|  | #VALUE! | [5 empty] | #VALUE! |  | #VALUE!
|  | #VALUE! | [5 empty] | #VALUE! |  | #VALUE!
|  | #VALUE! | [5 empty] | #VALUE! |  | #VALUE!
|  | #VALUE! | [5 empty] | #VALUE! |  | #VALUE!
|  | #VALUE! | [5 empty] | #VALUE! |  | #VALUE!
|  | #VALUE! | [5 empty] | #VALUE! |  | #VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
0

## Charts
Charts
Tenant Electricity Savings | Code-Compliant Baseline | 0 | 0 | 0
vs. Pre-Retrofit Baseline |  | #VALUE! | #VALUE! | #VALUE!
vs. Adjusted Baseline
Annual Tenant Cost Savings | Code-Compliant Baseline | 0 | 0 | 0
from Base Building Retrofit |  | 0 | 0 | 0
from Tenant EPMs
Tenant Electricity Cost Savings over Lease Term | Code-Compliant Baseline | 0 | 0 | 0
Baseline | 0 | 0 | 0 | 0
Net Energy Costs | 0 | #VALUE! | #VALUE! | #VALUE!
Building Retrofit Savings | 0 | 0 | 0 | 0
Tenant EPM Savings
| 0 | 0 | 0 | 0
Tenant Energy Use Intensity (W/SF)
Pre-Retrofit Baseline |  | #DIV/0!
Adjusted Baseline |  | #DIV/0!
Least Reduction |  | #VALUE!
Moderate Reduction |  | #VALUE!
Significant Reduction |  | #VALUE!
Tenant Energy Use Intensity |  | (kWh/SF/year)
Pre-Retrofit Baseline |  | #DIV/0!
Adjusted Baseline |  | #DIV/0!
Least Reduction |  | #VALUE!
Moderate Reduction |  | #VALUE!
Significant Reduction |  | #VALUE!
| Lighting | Equipment | Fans | HVAC | Total | Sum | Variance
Pre-Retrofit Baseline | 0 | 0 |  | 0
Adjusted Baseline | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | [5 empty] | 0 | #VALUE!
0 | [5 empty] | 0 | #VALUE!
0 | [5 empty] | 0 | #VALUE!
[6 empty] | 0 | #VALUE!
[6 empty] | 0 | #VALUE!

## Exh
Exh
Project Data & Assumptions
Lease Term - Years | 0
Rentable Floor Area - SF | 0
Modeled Floor Area - SF | 0
Electricity Base Rate - $/kWh | 0
Administration Fee - Annual | 0%
Electricity Escalation Rate - Annual | 0%
Discount Rate - Annual | 0%
Energy Performance Packages | 0 | 0 | 0
0 | • | • | •
0 | • | • | •
0 | • | • | •
0 | • | • | •
0 | • | • | •
0 | • | • | •
0 | • | • | •
0 | • | • | •
0 |  | • | •
0 |  |  | •
0 |  |  | •
0 |  |  | •
0
0
0
0
0
0
0
0

## EMR Exhibit
EMR Exhibit
Description |  | Owner |  |  | Tenant | [5 empty] | Tenant Electricity Reduction
EPM ID | Name | Peak Electric (kW) | Electric (kWh) | Steam (Therms) | Total Electric (kWh) | Lighting (kWh) | Equipment (kWh) | Fans (kWh) | HVAC (kWh) | Tenant Electric (kW) | vs. Pre-Retrofit Baseline (X-0) | vs. Adjusted Baseline (X-2)
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
Incremental Savings vs. Previous Run | [10 empty] | Calculations (vs. Adjusted Baseline)
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Final Design
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Energy Performance:
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 - ______ = 17.3%
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Better Energy Perfomance:
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 - ______ = 24.2%
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Best Energy Performance:
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 - ______ = 38.0%
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Sen Analysis
Sen Analysis
Payback Calc Table Assumptions
Basline Energy Consumption - kWh |  |  | 0
Rentable Floor Area - SF |  |  | 0
Modeled Energy Reduction - %
Package Implementaion Cost
EUI - kWh / SF |  |  | #DIV/0! | MODELED SF
IRR |  |  | #VALUE!
Data Table Assumptions |  |  | Base | Escalator
Incremental Cost |  |  | -0.25 | -0.25
Elecrtricity Rate |  |  | 0.08 | 0.02
Payback Period |  |  | #DIV/0!
Electricity Base Rate & Admin - $ / kWh |  |  | 0
Package Incremental Implementaion Cost |  |  | #VALUE!
Year | Rate | Cash Flow | Payback
0 | N/A | #VALUE! | #VALUE! | N/A
1 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
2 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
3 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
4 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
5 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
6 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
7 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
8 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
9 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
10 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
11 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
12 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
13 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
14 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
15 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
16 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
17 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
18 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
19 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
20 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
Payback |  | Incremental Implementation Cost
| #DIV/0! | -0.25 | -0.5 | -0.75 | -1 | -1.25 | -1.5 | -1.75 | -2 | -2.25 | -2.5
Elec Base Rate | 0.08 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| 0.12 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| 0.18 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
ASMP
|  | 3 | Yr Payback
Rate Scenario | 0.08 | #DIV/0! | #DIV/0! | #DIV/0! | -0.25 | #DIV/0! | #DIV/0!
| 0.12 | #DIV/0! | #DIV/0! | #DIV/0! | -0.25 | #DIV/0! | #DIV/0!
| 0.18 | #DIV/0! | #DIV/0! | #DIV/0! | -0.25 | #DIV/0! | #DIV/0!
ASMP
|  | 5 | Yr Payback
Rate Scenario | 0.08 | #DIV/0! | #DIV/0! | #DIV/0! | -0.25 | #DIV/0! | #DIV/0!
| 0.12 | #DIV/0! | #DIV/0! | #DIV/0! | -0.25 | #DIV/0! | #DIV/0!
| 0.18 | #DIV/0! | #DIV/0! | #DIV/0! | -0.25 | #DIV/0! | #DIV/0!
Energy Cost |  | Incremental Implementation Cost
|  | 3-year payback | 5-year payback
$0.08/kWh |  | $0.56/ft2 | $0.94/ft2
$0.10/kWh |  | $0.84/ft2 | $1.40/ft2
$0.18/kWh |  | $1.26/ft2 | $2.11/ft2
$0.08/kWh
$0.18/kWh
$0.12/kWh

## Definitions
The Value Analysis Glossary
Payback period is the length of time required to recover the additional costs of an energy-efficient installation. The payback period is derived by taking the incremental first costs of EPMs (as provided by the project’s contractor) and dividing that figure by anticipated energy cost savings per year (as ascertained from the energy-modeling phase). Payback period is a significant determinant of whether a tenant should commit to a high-performance buildout, because more expensive projects with longer payback periods will typically require longer investment horizons tied to longer lease terms.
For example: Assume the incremental cost of an EPM package for a tenant space (adjusted for any available utility or government incentives to promote energy efficiency) is $200,000. Modeling shows that $60,000 will be saved per year in energy costs. The payback period is 3.3 years ($200,000 ÷ $60,000 = 3.3 years).
Discount rate is the amount of return (expressed as a percentage) that the tenant expects to receive on its capital outlays to construct the leased space. The discount rate is an important assumption that underpins other elements of the value analysis. It reflects the interest rate the tenant needs to earn on a given amount of money today to end up with a given amount of money in the future. Often, the discount rate reflects the rate of return that could be earned elsewhere on an investment of similar size and risk and therefore can be used to compare various investment options.
For example: If a tenant intends to have $1,000 in a year and has $950 in its bank account today, it expects a discount rate on its investment of 5.2 percent over the next 12 months.
Net present value (NPV), expressed in dollars, is a basic metric used in capital budgeting to analyze the profitability of a project (such as a high-performance tenant buildout). It compares the initial cost of a project to the total value of expected future revenues if the project is implemented. Because of the so-called time value of money1—particularly relevant here given the multiyear duration of commercial lease terms—NPV takes into account the compounding of the tenant’s given discount rate over the duration of the project. A project’s NPV reflects the degree to which cash inflow over the life of a project (e.g., dollar savings on utility expenses over the life of a lease resulting from installed EPMs) equals or exceeds the amount of investment capital required to fund the project (e.g., the adjusted incremental cost of installing EPMs in the tenant space). Businesses use NPV as a way of comparing the relative profitability of potential projects to ensure that only the most lucrative ventures are pursued. In general, a package of tenant space measures with a higher NPV indicates that it is more profitable than a competing EPM package with a lower NPV.
For example: Using a 5 percent discount rate, a package that has an incremental first cost of $10,000 and is expected to generate energy savings of $2,000 per year for 10 years has an NPV of $5,443. Using the same discount rate, a package that has an incremental first cost of $20,000 and is expected to result in $3,000 of energy savings per year has an NPV of $3,165. Although both packages are profitable because the NPVs are positive, the first package is expected to provide greater value.
Return on investment (ROI), a figure expressed as a percentage, is another valuation measure that allows various investment options under consideration to be compared to one another. In general, if an investment does not have a positive ROI, or if other scenarios have a higher ROI, then other investment options would be considered. To calculate ROI, the benefit of an investment (net of its initial cost) is divided by how much the investment costs.
For example: Assume that the NPV of a high-performance buildout, in terms of its electricity cost savings, is $750,000 as determined by energy performance modeling experts. The incremental cost of that buildout package, taking into account available government incentives, is $200,000. The project’s ROI over the lease term is a favorable 375 percent ($750,000 ÷ $200,000 = 375%).
Internal rate of return (IRR) reflects the rate of growth a project is expected to generate. It is a metric that allows investors to avoid wasting money on projects that cannot earn back the cost of their capital.2 The higher a project’s IRR (expressed as a percentage), the more desirable it is to undertake. IRR calculates the discount rate at which the NPV of the project’s costs is equal to the expected NPV of the project’s benefits. In assessing various scenarios that package EPMs for tenant installations, the most profitable projects—or those that yield the greatest returns on upfront capital costs—will have the highest IRR and represent a solid investment decision.
For example: A package with incremental first costs of $200,000 and expected energy savings of $60,000 per year over the course of a 15-year lease has an IRR of 29.4 percent. If the company’s cost of capital is 5 percent, this package would represent a favorable investment for the company.
1. The “time value of money” is a core principle of finance, which dictates that the passage of time impacts the value of cash flows. Because money earns interest over time, sums deposited in a bank account today are worth more than the same amount deposited in the future. That is, any amount of money is worth more today than at some future point. See www.investopedia.com/terms/t/timevalueofmoney.asp.
2. See www.investopedia.com/terms/i/irr.asp.